## Sheet1
CHINA CONSTRUCTION (S.P.) DEVELOPMENT CO PTE LTD |  |  |  |  | Form No:EPE-ME-01_1
PROPOSED PARC ESTA CONDOMINIUM |  |  |  |  | Ref No:EPE-ME-01_2
ACCEPTANCE CHECKLIST FOR SANITARY INSTALLATION (Basement & Common Area)
Location / Storey: EPE-ME-01_3 |  |  |  | Grid Ref : | EPE-ME-01_4
Structural Element: EPE-ME-01_5 |  |  |  | Drawing No: | EPE-ME-01_6
Date/Time of Notification: EPE-ME-01_7 |  | Date/Time Inspection Required: |  |  | EPE-ME-01_8
Item | Detail | Y/N/NA | Checked By |  | Approved By
|  |  | Engr/Foreman Date |  | RE/RTO Date
A | FLOOR TRAP /FLOOR WASTE / HATCH BOX
1 | Material specification | EPE-ME-01_9 | √ | 日期 | √ | 日期
2 | Size | EPE-ME-01_10 | √ | 日期 | √ | 日期
3 | Location | EPE-ME-01_11 | √ | 日期 | √ | 日期
4 | Damaged points | EPE-ME-01_12 | √ | 日期 | √ | 日期
5 | Choke | EPE-ME-01_13 | √ | 日期 | √ | 日期
6 | Setting out | EPE-ME-01_14 | √ | 日期 | √ | 日期
7 | Open-ended pipework to be covered / protected | EPE-ME-01_15 | √ | 日期 | √ | 日期
B | PIPES
1 | Material specification / Fittings type | EPE-ME-01_16 | √ | 日期 | √ | 日期
2 | Size | EPE-ME-01_17 | √ | 日期 | √ | 日期
3 | Securely fixed. Bolts & nuts, joints | EPE-ME-01_18 | √ | 日期 | √ | 日期
4 | Leakage | EPE-ME-01_19 | √ | 日期 | √ | 日期
5 | Choked | EPE-ME-01_20 | √ | 日期 | √ | 日期
6 | Supports, spacers, hanger | EPE-ME-01_21 | √ | 日期 | √ | 日期
7 | Painting / Stains | EPE-ME-01_22 | √ | 日期 | √ | 日期
8 | Flow direction, Gradient. | EPE-ME-01_23 | √ | 日期 | √ | 日期
9 | Accessibility | EPE-ME-01_24 | √ | 日期 | √ | 日期
10 | Pressure Test | EPE-ME-01_25 | √ | 日期 | √ | 日期
C | IC
1 | Size | EPE-ME-01_26 | √ | 日期 | √ | 日期
2 | Invert Levels | EPE-ME-01_27 | √ | 日期 | √ | 日期
3 | Pipes connections & supports | EPE-ME-01_28 | √ | 日期 | √ | 日期
4 | Bedding / base , haunching | EPE-ME-01_29 | √ | 日期 | √ | 日期
5 | Water scalant | EPE-ME-01_30 | √ | 日期 | √ | 日期
6 | Gradient & flow direction | EPE-ME-01_31 | √ | 日期 | √ | 日期
7 | Covers, internal benching, channeling and finishing work. | EPE-ME-01_32 | √ | 日期 | √ | 日期
8 | Leak Testing for ICs | EPE-ME-01_33 | √ | 日期 | √ | 日期
D | ANY OTHER | EPE-ME-01_34 | √ | 日期 | √ | 日期
REMARKS:
EPE-ME-01_35
Checked By: |  | Rectification Checked By: |  |  | Approved By:
China Construction |  | China Construction |  |  | Resident Engineer/RTO
Signature/Name/Date |  | Signature/Name/Date |  |  | Signature/Name/Date