## Sheet1
CHINA CONSTRUCTION (S.P.) DEVELOPMENT CO PTE LTD |  |  |  | Form No: | EPE-ME-06_1
PROPOSED PARC ESTA CONDOMINIUM |  |  |  | Ref No: | EPE-ME-06_2
ACCEPTANCE CHECKLIST FOR MV INSTALLATION (Basement & Common Area)
Location / Storey: EPE-ME-06_3 |  |  |  | Grid Ref : | EPE-ME-06_4
Structural Element: EPE-ME-06_5 |  |  |  | Drawing No: | EPE-ME-06_6
Date/Time of Notification: EPE-ME-06_7 |  | Date/Time Inspection Required: |  |  | EPE-ME-06_8
Item | Detail | Y/N/NA | Checked By |  | Approved By
|  |  | Engr/Foreman Date |  | RE/RTO Date
A | FIRE PROTECTION INSTALLATION
1 | Location / routing | EPE-ME-06_9
a | Sprinkler points & piping spacing | EPE-ME-06_10
b | Sprinkler control valve & Breeching inlets, flow switches | EPE-ME-06_11
c | Hosereels | EPE-ME-06_12
d | Dry riser landing valve | EPE-ME-06_13
e | Call points & Alarm Bells | EPE-ME-06_14
f | Smoke detectors | EPE-ME-06_15
g | External hydrant | EPE-ME-06_16
h | Fire extinguishes | EPE-ME-06_17
2 | Check material, brand, size. | EPE-ME-06_18
3 | Check undergound pipe work c/w haunching & supports. | EPE-ME-06_19
4 | Check structure opening and sleeve provisions | EPE-ME-06_20
5 | Check supports, joint, hanger of sprinkler pipework based on specification. | EPE-ME-06_21
6 | Check for fire-rated enclosures requirement. | EPE-ME-06_22
7 | Check for fire-rated cables. | EPE-ME-06_23
8 | Check landing valve c/w strap and padlock | EPE-ME-06_24
air-release valve.
9 | Earthing requirement @ dry rising main inlet | EPE-ME-06_25
10 | Check paintwork, cleaniness, sealing c Compound, wire guard. | EPE-ME-06_26
11 | Any others | EPE-ME-06_27
REMARKS:
Checked By: |  | Rectification Checked By: |  |  | Approved By:
China Construction |  | China Construction |  |  | Resident Engineer/RTO
Signature/Name/Date |  | Signature/Name/Date |  |  | Signature/Name/Date