## Sheet1
CHINA CONSTRUCTION (S.P.) DEVELOPMENT CO PTE LTD |  |  |  | Form No: | EPE-CS-02_1
PROPOSED PARC ESTA CONDOMINIUM |  |  |  | Ref No: | EPE-CS-02_2
CHECKLIST FOR PPVC INSTALLATION ON SITE
Location / Storey: EPE-CS-02_3
Structural Element: EPE-CS-02_4 |  |  |  | Drawing No: | EPE-CS-02_5
Date/Time of Notification: EPE-CS-02_6 |  | Date/Time Inspection Required: |  |  | EPE-CS-02_7
Item | Detail | Y/N/NA | Checked By |  | Approved By
|  |  | Engr/Foreman Date |  | RE/RTO Date
A | PRE-ERECTION
1 | Correct Serial Number of Modules | EPE-CS-02_8 | √ | 日期 | √ | 日期
2 | All QC Checklist for module in order | EPE-CS-02_9 | √ | 日期 | √ | 日期
3 | Gridline reference | EPE-CS-02_10 | √ | 日期 | √ | 日期
4 | Module position lines | EPE-CS-02_11 | √ | 日期 | √ | 日期
5 | Shim level +/- 2mm | EPE-CS-02_12 | √ | 日期 | √ | 日期
B | PRE-ERECTION
1 | Cleanliness | EPE-CS-02_13 | √ | 日期 | √ | 日期
2 | Module alignment | EPE-CS-02_14 | √ | 日期 | √ | 日期
3 | Plumbness | EPE-CS-02_15 | √ | 日期 | √ | 日期
4 | Vertical joint width | EPE-CS-02_16 | √ | 日期 | √ | 日期
5 | Horizontal joint width | EPE-CS-02_17 | √ | 日期 | √ | 日期
C | POST-ERECTION
1 | Proper access erected | EPE-CS-02_18 | √ | 日期 | √ | 日期
2 | Cleanliness | EPE-CS-02_19 | √ | 日期 | √ | 日期
3 | Dowel Bars/other rebars connection | EPE-CS-02_20 | √ | 日期 | √ | 日期
4 | Grout mixing according to specification | EPE-CS-02_21 | √ | 日期 | √ | 日期
5 | Joints to be grouted properly sealed | EPE-CS-02_22 | √ | 日期 | √ | 日期
6 | Test cube grout | EPE-CS-02_23 | √ | 日期 | √ | 日期
REMARKS:
EPE-CS-02_24
Checked By: |  | Rectification Checked By: |  |  | Approved By:
China Construction |  | China Construction |  |  | Resident Engineer/RTO
Signature/Name/Date |  | Signature/Name/Date |  |  | Signature/Name/Date